{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":15,"n_cols":6,"rows_kept":15,"merged":[[0,0,0,5],[1,1,1,2],[2,1,13,1],[14,0,14,3]]}
["睡眠中心（筹建科室）医疗设备采购目录"]
["序号","设备名称",null,"设备名称","数量","备注"]
[1,"初期开诊设备\n（约10张床位）","麻醉滴定与监护设备","麻醉深度监护仪",1]
[2,null,"麻醉滴定与监护","心电监护仪",3]
[3,null,"麻醉滴定与监护","微量泵",3]
[4,null,"神经调控治疗","重复经颅磁刺激仪",1]
[5,null,"中医特色与血液治疗设备","医用臭氧治疗仪（三氧灌肠用）",1]
[6,null,"神经阻滞与影像引导","便携式彩超机",2]
[7,null,"睡眠监测","多导睡眠监测仪（进口）",1]
[8,null,"睡眠监测","便携式睡眠监测仪",2]
[9,null,"神经调控治疗","迷走神经刺激仪",3]
[10,null,"自主神经功能评估","心率变异性分析仪",1]
[11,null,"辅助器具","麻醉药品双锁柜",1]
[12,null,"辅助器具","精神药物双锁柜",1]
["合计",{"$nulls":3},{"$f":"SUM(E3:E14)","v":20}]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0}